## Slide 1: Unblinding Request: Unfolding the Atmospheric Muon Flux with IceCube Pascal Gutjahr
Analysis Call
November 20, 2025
Source: NASA
wiki page
WG: Dennis
Coll.: Anatoli
Tech: Karolin

## Slide 2: Cosmic Ray Air Shower – Muon Flux
Conventional Muon:
Parent is pion or kaon
prompt
conventional
Prompt Muon:
„Rest“
Measure muon flux at surface
Characterize prompt and conventional component

## Slide 3: Goal: Measure Muon Flux at Surface
MCEq: SIBYLL 2.3d (H3a)

## Slide 4: Overview
Simulation
Selection
Reconstruction
Unfolding
Level 3
L2 muon filter
Add labels
Level 4
500 TeV bundle energy cut at surface
Add DNN reconstructions
DNN reconstructions
Muon energies
Muon direction
Track geometry
Level 5
Data-MC quality cuts
Validation
Tag prompt / conv particles
MCEq comparisons
Dataset
CORSIKA 77500 Ehist
SIBYLL 2.3d
10 TeV – 100 EeV
Snowstorm
Muon spectrum
Unfold muon flux at surface
Final Level
Leadingness cut

## Slide 5: Simulation

## Slide 6: New CORSIKA Simulation
Extended history  get muon parent information
Official iceprod datasets: 22774 – 8
Primary energy: 10 TeV – 1e11 GeV
HIM: SIBYLL 2.3d
*22875 is simulated from 600 GeV – 10 TeV, but not used in this analysis
 from the simulated statistics, no event made it into the final selection stage
Leading muon = most energetic muon in a bundle
Proxy
Target

## Slide 7: Reconstruction

## Slide 8: CNN Reconstructions
dnn_reco
Train on multiple CORSIKA datasets
3 / 9 features
SplitInIceDSTPulses
6000ns pulse cleaning
Energies, directions, track geometries
Proxy

## Slide 9: Selection

## Slide 10: Selection
Level 3: MuonFilter
Level 4: E > 500 TeV bundle Energy a surface
Level 5: 23 Data/MC Quality Cuts
Details: wiki/selection
L =
Final Level: L > 40 %
*numbers in brackets mark a scaling factor
to match the total number of data events

## Slide 11: Unfolding

## Slide 12: Unfolding in a nutshell
1. Discretized form:
2. Maximum likelihod method:
3. Thikonov regularization:
4. Maximize
with respect to using
Markov Chain Monte Carlo (MCMC)
or Minuit
measured proxy
detector response
true energy distribution
background
Credit: T. Hoinka
folding
unfolding
funfolding
by M. Börner

## Slide 13: SnowStrom In-Ice Systematics
Parameterize impact of systematic for each proxy bin (leading muon at entry)
5 systematics x 20 bins = 100 fits
Many bins have large uncertainties  set to constant
Mainly impacted by Absorption and DOM efficiency
Included as nuisance parameters in the unfolding

## Slide 14: Event Rate to Flux  Effective Area
Unfolding estimates an event rate
Transfer event rate to flux
with solid angle
and effective area
final level events
generation level events

## Slide 15: Regularization
Find regularization 𝜏 with minimal bin-to-bin correlation
LLH minimization (unfolding) provides full covariance matrix V
Minimize global correlation
Fits are only accepted, when minuit minimization is valid
  Sometimes fits fail
Fit polynomial from to determine minimum
impact of tau variation < 10 %
 negligible in comparison to statistical uncertainty

## Slide 16: “Method Bias”

## Slide 17: Uncertainties: “Unfolding Bias”
Train unfolding on H3a, H4a, GSF, GST
Unfold 4 MC weighted datasets for the 4 primary models
Divide each unfolding by its true MC distribution
16 unfoldings in total
Ratio of 1 expected
Offset to 1  bias
Maximum distance to true distribution
Add these biases as an uncertainty to the unfolding result

## Slide 18: Include Uncertainties
All test unfoldings agree with the truth within the uncertainties

## Slide 19: Nominal / Best Fit  Average of 4 Unfoldings
Unfold H3a test dataset with all 4 primary models
Build average
with
total uncertainty of the 4 unfoldings

## Slide 20: Sensitive to Prompt?

## Slide 21: Prediction: 12 Years of IceCube Data Unfolding
Ratio to conv
Ratio to total
MC only
*with systematic uncertainties from effective area
MC only
Ratio to conv
Pseudo Sample has NO prompt
Pseudo Sample has prompt
Unfolding is sensitive to the prompt component

## Slide 22: Flux Characterization

## Slide 23: Chi2 Likelihood Fit
Fit normalizations
minimize with scipy minimize 
Significance test for prompt
free
theory model

## Slide 24: Burnsample Unfolding

## Slide 25: Burnsample Unfolding
Leading muons
2487 h IceCube data
12754 events
Agrees with MCEq
Stopping muons
47 min IceCube data
32943 events
Below MCEq prediction
ICRC PoS 281
*Stopping muon analysis done by Lucas Witthaus

## Slide 26: Unblinding Plan

## Slide 27: Unblinding Proposal
  Unblinding plans
  Unfold 12 years of data for IC86 from 2011 to 2022
  Determine regularization strength on data
  Perform unfolding on data
    Build matrix on all 4 primary models
    Fit prompt/conv normalization (significance) on all 4 unfoldings each
    Build average of all 4 unfoldings  nominal values
  Post-unblinding checks
  Check the data-MC agreement for proxy variable (leading energy)
    Pre-fit (on the entire Snowstorm dataset)
    Post-fit (re-weight to fitted systematics)
  Divide total dataset in 3 subsets á 4 years to analyze systematic impacts over the years
  Divide dataset into 4 seasons
  Paper Proposal
  Present status of forward folding in November
    If results look promising  cross—checks can be done until end of January next year
      Combined forward and unfolding paper: Discovery of prompt?
    Elif, forward folding needs much more work
      Unfolding paper: Measurement of muon flux
Thank you for your attention!

## Slide 28: Backup

## Slide 29: CORSIKA 7 vs. MCEq
MCEq: tool to numerically solve the cascade equations that describes the evolution of particle densities as they propagate through a gaseous, dense medium
https://github.com/mceq-project/MCEq
https://github.com/The-Ludwig/PANAMA
Neste & Gutjahr et al., EPJ C, 85, 759 (2025)
Python package developed – PANAMA
Execute CORSIKA 7 (multi core)
Read DAT files  pandas DataFrames
Parse EHIST option
Calculate primary weightings
Good agreement for inclusive flux

## Slide 30: 12 Years Prediction
symmetric errors
asymmetric errors
unfolding bias taken from all permutations

## Slide 31: MC Statistics on Final Level

## Slide 32: Input data per DOM
3 inputs
ctotal: Total charge
  Sum of charge
tfirst: Relative time of first pulse
  Relative to total time offset, calculated as the charge weighted mean time of all pulses
tstd: Standard deviation of first pulse
  Charge weighted standard deviation of pulse times relative to total time offset
9 inputs
tlast: Relative time of last pulse
  Relative to total time offset, calculated as the charge weighted mean time of all pulses
t20%: Relative time of 20% charge
  Relative to total time offset, calculated as the charge weighted mean time of all pulses
t50%: Relative time of 50% charge
  Relative to total time offset, calculated as the charge weighted mean time of all pulses
tmean: Mean time
  Charge weighted mean time of all pulses relative to total time offset
c500ns: Charge at 500ns
  Sum of charge after 500ns
c100ns: Charge at 100ns
  Sum of charge after 100ns
10.1088/1748-0221/16/07/P07041
Input pulse cleaning
6000 ns
Training data
Different simulations for robustness
Credit: IceCube

## Slide 33: Reconstructed properties
Energy
entry_energy: Leading muon energy at the detector entry
bundle_energy_at_entry: Muon bundle energy at the detector entry
muon_energy_first_mctree: Leading muon energy at surface
bundle_energy_in_mctree: Muon bundle energy at surface
Track geometry
Length: Propagation length of muon in the ice
LengthInDetector: Propagation length of muon in the detector
center_pos_x: Closest x position of muon to center of the detector
center_pos_y: Closest y position of muon to center of the detector
center_pos_z: Closest z position of muon to center of the detector
center_pos_t: Time of closest approach to the center of the detector
entry_pos_x: x position of muon at the detector entry
entry_pos_y: y position of muon at the detector entry
entry_pos_z: z position of muon at the detector entry
entry_pos_t: Time of muon at the detector entry
Direction
zenith: Zenith angle of muon
azimuth: Azimuth angle of muon
Network 1
Network 3
Network 2
Network 0: Muon bundle energy at surface (fast pre-cut)

## Slide 34: Energy Reconstructions
performed on Level 3 (explained later)
Sufficient energy reconstructions
Tight 68 % intervals, with outliers

## Slide 35: Level 3: Muon Filter
Choose muon filter to select as many high-energy muons as possible
Muon filter: zenith-dependent charge and quality cut

## Slide 36: Level 4: Energy Cut
6 billion events expected in 10 years  computationally not feasible
focus on high-energetic events
Remove low-energy muons: bundle energy at surface > 500 TeV

## Slide 37: Level 5: Data/MC Quality Cuts
IceCube Collaboration PoS ICRC2023 1064
Neutrino weighting:
SPL: n = 1.8, 𝛾 = 2.52
Good directional reconstruction
Cut: cos(zenith) > 0.2

## Slide 38: Level 5: Data/MC Quality Cuts
Remove outliers
Depth—dependent slope (no analysis relevance)
CR—model impact on energy reconstruction
23 quality cuts in total

## Slide 39: Final Level: Leadingness > 40 %
L =
No leadingness cut
Leadingness > 40 %
Improve Data/MC by leadingness cut

## Slide 40: Level5: quality cuts
containment cuts | > | <
length in detector | 1000 m | 2000 m
entry pos x, y | -750 m | 750 m
entry pos z | -500 m | 750 m
center pos x, y | -550 m | 550 m
center pos z | -650 m | 650 m
neutrino cuts | > | <
cos(zenith) | 0.2 | 
length | 5000 m | 15000 m
uncertainty cuts | <
bundle energy at entry | 0.9 log10(GeV)
bundle energy at surface | 2.0 log10(GeV)
zenith | 0.1 rad
azimuth | 0.2 rad
entry pos x , y, z | 42 m
center pos x, y, z | 50 m
entry pos time | 200 ns
center pos time | 600 ns
length in detector | 160 m
length | 2000 m

## Slide 41: Uncertainties per Bin

## Slide 42: H3a Unfolding Bias
Fit

## Slide 43: H4a Unfolding Bias
Fit

## Slide 44: GST Unfolding Bias
Fit

## Slide 45: GSF Unfolding Bias
Fit

## Slide 46: Unfolding Bias for All Models
Summary
Add these biases as an uncertainty to the unfolding result

## Slide 47: 12 Years Prediction
symmetric errors
asymmetric errors
unfolding bias taken from H3a because H3a matrix was used here

## Slide 48: Data—MC Pre/Post Fit

## Slide 49: Data-MC: Burnsample
Pre Fit
Post Fit
include entire Snowstorm dataset
re-weight to best fit systematics

## Slide 50
Minuit output

## Slide 51: Muon Flux Unfolding
Effective area
Systematics
Proxy that correlates with target
Regularization
Unfolding

## Slide 52: Ice & Detector Systematics
σsys,i = max(
Baseline: entire set
Subset: above/below center

## Slide 53: Reconstruction and Data—MC: Leading Muons
Good reconstruction of leading muon energy  proxy
Good data—MC agreement
Global offset  upscale MC by 12%

## Slide 54: Correlation and Robustness Test: Leading Muons
Correlation between proxy and target
Build unfolding matrix on H3a, H4a, GST & GSF
Unfold H3a as test set
Results are within uncertainties  robust
Burnsample

## Slide 55: Determine Regularization
Find regularization 𝜏 with minimal bin-to-bin correlation
LLH minimization (unfolding) provides full covariance matrix V
Minimize global correlation
Unfold MC truth  ratio should be 1
Burnsample

## Slide 56: Burnsample Unfolding
Leading muons
2487 h IceCube data
12754 events
Agrees with MCEq

## Slide 57: Determine Regularization
Find regularization 𝜏 with minimal bin-to-bin correlation
LLH minimization (unfolding) provides full covariance matrix V
Minimize global correlation
Unfold MC truth  ratio should be 1
Burnsample

## Slide 58: Bundle Energy Reconstruction
Level 4
Level 5
IceCube Preliminary
IceCube Preliminary

## Slide 59: Cosmic ray flux
Arxiv: 1903.07713
Notes: 1. Knee: ~3 PeV, before gamma = 2.7, limit of acceleration mechanism for cosmic rays in supernova remnants 2. Knee: ~100 PeV, before gamma = 3.1, heavier elements, like iron, from galactic sources start to reach their maximum acceleration energy  more protons, larger energy in electromagnetic acceleration Ankle: ~1 EeV, flattens out again, transition point between galactic and extra galactic particle origin,

## Slide 60: Air shower – 10 TeV
Proton
Iron
www.iap.kit.edu/corsika
Ralph Engel 2005
2211.16970v2
“muon bundles”
Notes: shower maximum: x_max, slant depth at which the number of particles is the greatest, more energetic and lighter cosmic rays produce deeper/lower x_max, while heavier nuclei have a higher shower maximum
measure number of particles / muons
lateral spread
nitrogen can be excited  fluorescence light emitted
iron produces more muons than proton, because it has 56 nucleons  higher fragmentation  “sub-showers”

## Slide 61: Prompt atmospheric muons and neutrinos
10.1103/PhysRevD.100.103018
no unflavored
dominated by kaons
dominated by pions
Combined fit:
handle on pion/kaon ratio
handle on charmed mesons

## Slide 62: CORSIKA 7 tagging and MCEq comparison
MCEq: tool to numerically solve the cascade equations that describes the evolution of particle densities as they propagate through a gaseous, dense medium
https://github.com/mceq-project/MCEq
GSF weighting
GSF weighting
Good agreement in total prompt and conv muon flux
D0 and Ds are swapped here but this is fixed in MCEq
mention panama

## Slide 63: Final Level cos(zenith)

## Slide 64: MCEq vs CORSIKA

## Slide 65: Muon Energy at Surface
simulated
weighted
Leading Muon: most energetic muon in tree
Bundle Energy Signal: sum of all muons of ”signal” primary
Bundle Energy Background: sum of all muons of coincident primaries

## Slide 66: Coincidence: Muons on Event Level
100% Signal
100% Background
50% Signal, 50% Background
above 10 TeV, no background dominated events

## Slide 67: Estimate Rates with H3a
Signal rate: 0.84 mHz (total event rate)
Background rate: 0.68 mHz (event rate with at least 1 coincident primary)
Signal rate: 0.74 mHz (leading muon energy at surface > 10 TeV)
Background rate: 0.58 mHz (event rate with at least 1 coincident primary & lead. muon E. > 10 TeV)
Signal rate: 0.74 mHz (leading muon energy at surface > 10 TeV)
Background rate: 0.02 mHz (event rate with at least 1 coincident primary & lead. muon E. > 10 TeV & coincident muon bundle energy at surface hast at least 10% of leading muon energy)
The light of the background events overlaps with the signal  no chance to separate
A 10% bundle energy contribution would shift the measured light up by roughly 10%  within the uncertainties of the energy prediction
Networks have been trained on MC with coincident events  they are able to subtract a little light in case they assume there is a background event, however, this is not quantified

## Slide 68: Reconstructions: Coincident Events
no background event
< 0.1
> 0.1
sufficient energy reconstruction for events with background

## Slide 69: Estimate Impact of Hadronic Interaction Model
Not all hadronic models include charm
Impact of HIM smaller than CRM
Hadronic Model impact is negligible
Different CR Models
Different Haronic Models

## Slide 70: Reconstruction: EPOS-LHC vs SIBYLL 2.3d [Level 5]
EPOS-LHC
SIBYLL 2.3d
IceTop simulations for proton and iron
23198 and 23201
Primary energy > 1e7